## Slide 1: AAVS 0.5: An Overview
Peter Hall
ICRAR/Curtin, Bologna, October 22, 2012

## Slide 2: What is AAVS 0.5?
16-element LPDA array (70-450 MHz) located at the Murchison Radioastronomy Observatory
  Specifically, within the site designated for the MWA precursor
  Similar to one (of several) AAVS 0 arrays
Dependent on MWA infrastructure and site legal agreements
  Constituted as an MWA extension, via MWA user instrument policy
    P J Hall as Principal Investigator
  Known as “test and evaluation tile” to the MWA
  Physical access via MWA site visits
One-off opportunity
  Limited resources, very limited site access, limited lifetime (~18 months)

## Slide 3: AAVS partners and motivation
Self-funded partners: ICRAR, ASTRON, UCamb
  Test results freely available beyond partnership
  Opportunities to incorporate some systems and ideas from other parties
Motivation
  Enhance MWA practical contribution and profile as an SKA precursor
  Enhance MWA calibration and science, where possible
  Meet ICRAR project plan for MRO small array
  Begin transfer of MWA practical site expertise to ICRAR SKA-low team
    Needed for AAVS 1 and beyond
  Provide an MRO test platform for AAVS (0 or 1) electronic systems, where possible
    Information and optimization on actual RFI-quiet SKA-low site
    Highlight EMC challenge early
  Provide an MRO test platform for infrastructure and physical systems, where possible
    Feed to AAVS 1 design, along with info from various AAVS 0 systems

## Slide 4: What AAVS 0.5 is not
Not formally an SKA-related system
  All SKA activities require a new, and comprehensive, site licence at the MRO (and in RSA)
Not formally part of SKA system engineering process
  Does not feature in WBS
  Has no preferential bearing on SRR etc, beyond current (multiple) AAVS 0 inputs
Reflects no position on preferred final form of SKA-low, e.g.
  Choice of antenna
  Choice of 1 or 2-band implementation
  Choice of final frequency range
Not part of WBS  currently not part of AADC Consortium activities
  (but platform and results available to AADCC, where possible)
Could be part of updated WBS (?)
  Have to enter via pathfinder links, not SKA verification
  Have to be formally undertaken by 3 original partners, to meet MWA and MRO agreements
  Probably better to keep wider inputs informal

## Slide 5: AAVS 0.5 location within MWA
Is it a big tile or small station?
Depends if you come from the MWA or SKA perspective
Leads to some system physical arrangement issues

## Slide 6: Initial configuration
16 antennas,
8 m dia. station
(5 deg HPBW 450 MHz)
2 remote mountings, each ~30 m from centre
(correlation reference)

## Slide 7: Site as of 18 October, 2012
Holes 0.6 m deep,
0.12 m dia
Bedrock ~0.2 m deep
~6 mins to drill 1 hole
2 deg vertical tolerance ‘easy’
Courtesy Adrian Sutinjo and Jon Tickner

## Slide 8: AAVS 0.5 mounting

## Slide 9: Approximate schedule
Stage 1 – November 2012
  Mechanical installation of antennas and ground mesh
  MWA Geraldton workshop inc. SKA-low session Dec. 1, 2012
Stage 2 – May 2013
  Simple electronics and data-taking installation
  First performance tests via e.g. Galactic transit observations
  Maybe: station tied-array correlation with reference antenna
Stage 3 – December 2013
  DSP installed
  Intra-station correlation
  MWA cross-correlation
Stage 4 – June 2014
  Final characterizations and MWA joint science
  AAVS 0.5 removal, if required by MWA and/or MRO site manager

## Slide 10: MWA infrastructure
“Spare” infrastructure when MWA de-scoped to 128T
  Power, fibre most relevant for AAVS 0.5
AAVS 0.5 station electronics ~ 1 MWA “receiver” (digitizer)
Power limit of ~ 1.5 kW at “receiver” pad
Fibre connectivity to MWA hut  ASKAP/MWA screened building  to Perth  anywhere
  MWA has dedicated 10 Gb/s link to Perth
    Partly, or (sometimes) wholly, available to AAVS 0.5
    Much more data capacity available at “modest” cost
There is one spare MWA receiver enclosure available if required (EMC certified)

## Slide 11: Conclusion
AAVS 0.5 is a useful augmentation of other AAVS 0 systems
  Provides MRO-specific information for all AAVS 0 systems
  Feeds unique information to AAVS 1 design efforts
AAVS 0.5 offers MWA the opportunity to make large contributions to SKA-low, via the defined pathfinder WBS
AAVS 0.5 could be of considerable benefit to MWA
  Well-modelled LPDAs are an excellent reference against which to characterize MWA beamformed bow-tie dipoles
  AAVS 0.5 “long-ish” baseline could be useful in bootstrapping 128T MWA ionosphere calibration
AAVS 0.5 is small, but useful astronomy characterization is possible, e.g.
  Galactic Centre transits within 2 deg of zenith; Vela pulsar polarimetry; ....
  Correlation of AAVS 0.5 “station” beam with reference antenna (or MWA) essential
  Intra-station AAVS 0.5 correlation invaluable in verifying e.m. and other design tools
AAVS 0.5 is formally outside AADCC but it has highlighted the urgency of drafting SKAO – MRO agreements for AAVS1 and beyond
  Probably needs to be done in stages, or delay will be intractable
  May need AADCC and SKAO to accelerate some WBS tasks (to inform MRO managers)