## Slide 1
          Presented by Monari Jader INAF-IRA Radiotelescopio Croce del Nord
          Email : j.monari@ira. inaf.it
          AA-low Technical Progress Meeting Medicina, 22-23 September 2012
Receiver work

## Slide 2
Foreword……..
The receiver design is on hold
in order to achieve the AAVS0 goals

## Slide 3
LNA
Front End
(FE+OTX)
Receiver
(ORX+RX)
Link
From Antenna (30? 70-450MHz)
To Back End
Outputs 30-450MHz
Distributed Receiver Architecture (* Monari et al. Medicina 2012)

## Slide 4
LNA
LNA
Front End
+OPT TX
Receiver
(RX)
RECEIVERS ROOM
400mt Optical fiber
Receiver
(RX)
BACK END
Front End
+OPT TX

## Slide 5
Receiver Specifications

## Slide 6
Receiver’s Blocks
MNC ADC-10-1R
MNC GALI 52
MNC GALI 52
MNC TCBT-14+
OPTICAL TX
FM STOP
MNC ZX75BS-88108-S+
A-INFO JXWBLB-S-BP-50-450
TV STOP
MNC BSF-C174223+
FRONT END
I
Q
Equalizer
Pre-whitening
NB outputs 0-16MHz
WB output 70-450MHz
LO
MNC GALI 6
MNC GALI 84
MNC
SBTC 2-10
COARSE
HMC800LP3
FINE
HMC472LP4
ADL5387
OPTICAL RX
HMC849
0
π
MNC SBTCJ-1W
HMC960-10
A-INFO JXWBLB-S-BP-50-450
A-INFO JXWBLB-S-BP-50-450
UNIVERSAL RECEIVER
Equalizer
Pre-whitening
WB output 70-450MHz
MNC GALI 6
MNC GALI 84
COARSE
HMC800LP3
FINE
HMC472LP4
HMC849
0
π
MNC SBTCJ-1W
A-INFO JXWBLB-S-BP-50-450
OPTICAL RX
WB RECEIVER

## Slide 7
Pre-whitening block

## Slide 8
Carrier Board

## Slide 9
Communication

## Slide 10: Control Software

## Slide 11
Mechanics Assembly

## Slide 12
Costs for 16 receiving systems
Based on Carrier + VCSELs